**Application of Machine Learning for the Estimation of Electron Energy Distribution from Optical Emission Spectra**

Kamran Shojaei1 and Lorenzo Mangolini1,2

1 Department of Mechanical Engineering, University of California Riverside, Riverside, CA, United States of America

2 Materials Science & Engineering Program, University of California Riverside, Riverside, CA, United States of America

E-mail: lmangolini@engr.ucr.edu

Received xxxxxx

Accepted for publication xxxxxx

Published xxxxxx


Abstract

This paper discusses the use of probabilistic deep neural networks for the prediction of the electron energy probability function in low-temperature non-thermal plasmas. The neural networks are trained using optical emission spectroscopy and Langmuir probe measurements, with the goal of providing a reliable estimate of the electron energy probability function solely from optical emission data. The performance of both non-Bayesian and Bayesian networks is evaluated. It is found that Bayesian models are preferrable as they assign a higher level of uncertainty to their prediction especially when the dataset used to train them is small. This work describes one of the many potential applications of machine learning in plasma science and technology.

Keywords: Machine learning, Langmuir probe, spectroscopy, non-thermal plasmas

1. Introduction

Machine learning (ML) refers to a broad set of computational tools that enable a machine to perform tasks by learning from data. ML has been used in a wide range of fields from skin cancer detection and medical image segmentation [1] to transportation in form of self-driving cars [2]. ML models demonstrate physician-level accuracy at diagnostic tasks such as identifying cardiovascular risk, diabetic retinopathy, moles from melanomas [3, 4], breast lesion detection in mammograms [5], and analysis of spine with magnetic resonance imaging [6]. Using radiological images, object detection and segmentation are employed for flagging large-artery occlusion in the brain [7, 8]. With respect to autonomous vehicles, ML models clone driving behavior and perform tasks such as detection [9,10], segmentation [11], classification [12, 13] and tracking of objects on the road [14]. In plasma science, ML has been applied for reconstructing the plasma radiation profile from bolometer measurements in fusion reactors [15]. The promising applications of ML also include inference of plasma and surface properties from spectral data in non-equilibrium plasmas [16] and predicting in-flight particle characteristics of an atmospheric plasma spray process for coating applications [17]. Despite these recent demonstrations, ML is still very much an under-utilized tool in plasma science. This consideration has motivated us to investigate its use for the characterization of low-temperature plasmas, in particular for the estimation of the electron energy distribution function using easily obtainable optical emission spectra. In this work, we have performed both Langmuir probe and optical emission spectroscopy (OES) measurements to establish a training dataset, which we have then used to develop ML models that are capable of determining the electron energy distribution of a low-pressure non-thermal plasma starting simply from OES data.



**Figure 1.** Schematic of the setup employed to perform the Langmuir probe and spectroscopy measurements showing the optical system and the plasma chamber.


Langmuir probe and OES are two common techniques used to diagnose nonthermal plasmas. A Langmuir probe consists, in its simplest form, of a wire that is inserted into the plasma. Analysis of the current-voltage (IV) characteristic allows determining fundamental plasma properties such as electron temperature ), electron energy distribution and probability function , and plasma density [18-22]. Despite being powerful, this characterization technique is also non-trivial to set-up and utilize. It would be desirable to use simpler and more accessible tools for the characterization of . Optical emission spectroscopy, on the other hand, is a useful tool for determining, for instance, the density of certain excited states or the roto-vibrational state of excitation when molecular species are present in the discharge. One class of physics-based methods that can be used to obtain plasma properties from emission lines are collisional radiative (CR) model. These are effectively semi-empirical micro-kinetic models in which radiative and collisional process are balanced to extract fundamental plasma properties [23-29]. CR models can provide us with information about deviations of from a Maxwellian case [30], but the true shape of cannot be predicted via CR models alone. In addition, theoretical solutions of can be obtained via a two-term approximation of the Boltzmann transport equation under steady-state [31] and Monte Carlo approach [32]. However, these approaches rely on a zero-dimensional assumption and therefore deviate from laboratory and industrial plasmas. Here we show that ML can be successfully utilized to estimate the electron energy distribution starting from OES measurements. We have developed probabilistic deep neural networks (PDNNs) to map line intensities in the plasma emission spectrum to and while quantifying the uncertainty about models and predictions. This approach bypasses the complex physics and inherent uncertainty of CR models to predict plasma parameters such as and without the need of a Langmuir probe system. We build probabilistic deep neural networks, train them on the data, and improve their performance via hyperparameter tuning, regularization, and through advanced optimization algorithm such as the Adam [33-34].

**2. Experimental Methods, Database Collection, and pre-processing**

Langmuir probe measurements were conducted in a large 42.0 cm diameter chamber at pressures ranging from 20 to 100 mTorr. The set-up is identical to the one utilized for our previous studies on dusty plasmas, although we are focusing on a pristine (dust-free) plasma here [18, 19]. The distance between the grounded base plate and the bottom of alumina plate is 10.0 cm. The plasma is sustained using a radio frequency (RF, 13.56 MHz) power supply, with the electrical power coupled into the chamber via an inductive antenna, as shown in Figure 1. The plasma powers ranged from 55 to 115 W. The discharge was generated in different gas mixtures containing argon, argon-hydrogen or argon-helium at various compositions. The concentration of gases is controlled by varying their flow rates. The argon flow rate is varied from 50 to 110 sccm in steps of 20 sccm while helium and hydrogen flow rates altered from 2 to 12 sccm in steps of 2 sccm. The stationary Langmuir probe is positioned at the center of the chamber perpendicular to the planar coil. The Tungsten probe tip has a length and a diameter of 5.0 mm and 127 μm respectively. The Langmuir probe is passively compensated with a large auxiliary electrode connected to the probe tip via a 200 pF capacitor. A 100 μH inductor resonating at 13.56 MHz is also used as a notch filter to block the first harmonic caused by plasma oscillations. A Wavetek 182 signal generator provides the sweeping voltage required for the Langmuir probe measurements by generating a triangular wave at 10 Hz that is amplified using a Kepco BOP 100-1M. A Teledyne DA1855A differential amplifier is used to measure the voltage drop across a 30 Ω resistor and to monitor the probe current. A PicoScope 5442A digital oscilloscope is used to record the IV curves. The current and voltage traces are averaged over 667 waveforms, with the IV acquisition taking approximately three minutes. The Langmuir probe current-voltage waveforms are smoothed via Savitzky Golay averaging. The actual electron energy probability function and electron temperature are determined following the Druyvestyn method [35].

|  |  |  |
| --- | --- | --- |
|  |  | (1) |
|  |  | (2) |

where is the electron kinetic energy, the unit electron charge, the electron mass, the probe surface area, the plasma potential, the electron current, and is the applied sweeping voltage to the probe tip. Adjacent averaging is applied to the second derivative to obtain the . Figure 2 shows the measured EEPFs for various powers, pressures and gas compositions. The needs to be encoded into a set of parameters that are learnable and then decoded in post processing to describe the . The choice of fitting parameters must guarantee robustness in the solution, so that any error in the fitting of one parameter does not propagate to other parameters.



**Figure 2.** Example of measured electron energy probability functions (EEPFs) for Ar, Ar-He and Ar-H2 mixtures, at various pressures and input powers.


The data points below 108 cm‑3 eV-3/2 are discarded as they are below the detection limit of our Langmuir probe set-up. The EEPF is converted to actual electron energy distribution function EEDF (cm‑3 eV-1) and then normalized to ). We have found that further dividing by , and separating it into two segments in the 1-6 eV range and 5- eV range, makes the function learnable. The part of the distribution in the 0-1 eV range can be fit to a polynomial function, but those fitting parameters are not learnable meaning there is no correlation between the emission spectra and the parameters. As shown in figure 3, both segments are fitted to an exponential function with three variables given by

|  |  |  |
| --- | --- | --- |
|  |  | (3) |

Overall, a total of six fitting parameters describes distribution function. In the post-processing step, for each segment is computed using the predicted fitting parameters. In addition to these six fitting parameters, we also add the measured electron temperature as an output of the ML algorithm. The fitting parameters and the electron temperature need to undergo a linear transformation before being used as the outputs to PDNNs. Each output is individually translated and scaled to be between zero and one to ensure equal treatment from PDNNs during training given by

|  |  |  |
| --- | --- | --- |
|  |  | (4) |

where and are the minimum and maximum possible values of each feature.



**Figure 3.** Example of a post-processed and fitted electron energy probability function .

The emission from the plasma is collected through a side port of the plasma chamber. An air-spaced doublet collimator (Thorlabs) connected to a triple grating imaging spectrometer (Acton Spectra Pro, Princeton Instruments) is employed to focus the light into a multimode glass fiber. A CCD camera (1024 x 256) placed at the exit of monochromator’s slit with a total recording of 200 frames and an acquisition time of 10 ms is used to capture the emission spectra. The emission spectra in the 300 to 1000 nm wavelength range are monitored and recorded. A broadband light source (SLS201L, Thorlabs) is used to calibrate the spectral response of the optical system. A correction file is constructed using the calibrated light source to correct for the non-uniform spectral response of the detector. The line intensities are then normalized to the total emission intensity in the 300-1000 nm wavelength range as shown in figure 4. Nineteen pronounced Argon I line intensities are chosen as input features to PDNNs which are located at the following wavelengths (nm) as shown in table 1.

|  |  |
| --- | --- |
| **Wavelength (nm)** | **Ei – Ej**  **(eV)** |
| 696.54 |  |
| 706.72 |  |
| 738.39 |  |
| 750.38 |  |
| 751.46 |  |
| 763.51 |  |
| 772.42 |  |
| 794.81 |  |
| 800.61 |  |
| 801.47 |  |
| 810.36 |  |
| 811.53 |  |
| 826.45 |  |
| 840.82 |  |
| 842.46 |  |
| 852.14 |  |
| 912.29 |  |
| 922.44 |  |
| 965.77 |  |


**Table 1.** The wavelengths and atomic transitions of Argon I emission lines used as the input to PDNNs.

The input () is a batch of nineteen-dimensional vector representing the nineteen normalized argon I line intensities, and the output is a batch of seven-dimensional vector representing six fitting parameters and electron temperature . A total of 1400 Langmuir probe and OES measurements were performed for this study.

**3. Machine Learning Methods and Architectures**

*3.1 Neural Networks*

In general, neural networks effectively recognize hidden patterns and correlations in data. The neural network architecture comprises of three parts: the input layer, the output layer, and series of layers in between called hidden layers. The basic unit of a neural network is a neuron, and each layer consists of a certain number of neurons. Each node or neuron computes a linear function where and are the weight and bias matrices, and is the input matrix. Then, it feeds the output to an activation function which is described in the SI document.



**Figure 4.** Normalized emission spectrum and the line intensities chosen as input features to PDNNs. The line positions are listed in table 1.

The neural network computations are completed in terms of forward and backward propagation steps [36]. Initially, the weight matrices () are randomly initialized, and biases () are initialized to be zero. In the forward pass, the input matrix is fed into the densely connected network, and the outputs are computed from the last layer based on the initialized network parameters. A loss function is created by comparing the discrepancy between this predicted output and the desired output. A cost function is then generated by the averaging of the loss function over the entire training set. The appropriate cost functions for a deterministic neural network are the mean absolute error and mean square

error . Their exact definition can be found in the SI document. The machine learning algorithm minimizes the cost function by tuning and of all neurons in the network by implementing gradient descent algorithm [37] in backward propagation step. The gradients of the cost function with respect to weights and biases of every layer are computed. and are iteratively updated accordingly at a learning rate given by

|  |  |  |
| --- | --- | --- |
|  |  | (6) |

Each training cycle is called an epoch (or iteration). This iterative process continues until the cost function is minimized. The hyperparameter also needs to be tuned to minimize the error. The gradients of the cost function with respect to weights and biases can be noisy as they can oscillate through this iterative process. In this work, Adam optimization algorithm which is an extension to gradient descent is used instead to damp out the oscillations and make the model reach a faster convergence towards minimized cost [33-34]. This algorithm is built into TensorFlow [38] which is an end-to-end open-source machine learning platform developed by Google. We use TensorFlow to develop and train our machine learning models. The available dataset is split into a training set (60%), a development set (20%), and a test set (20%). It’s important that the development and test sets comes from the same distribution of data set. This gives an unbiased estimate of the performance of the neural network and ensure the model has a good generalization ability, i.e. it can apply the knowledge gained from the training set onto other data.

*3.2 Non-Bayesian Neural Networks: Maximum Likelihood Principle*

Statistical variability in experimental dataset is inevitable. Therefore, a neural network should assign a level of uncertainty to its predictions. Uncertainty can be categorized as either aleatoric or epistemic. The aleatoric uncertainty is due to the inherent noise in the measured Langmuir probe and spectroscopic data. Epistemic uncertainty is due to the finite size of the experimental dataset. For example, the Langmuir probe measurements discussed in this manuscript were performed in the 20-100 mTorr range. The model needs to assign a higher level of uncertainty to its predictions while encountering inputs outside of this pressure range, as it was not trained on them. We account only for the aleatoric uncertainty by implementing the maximum likelihood principle [39-40]. In this approach, each output is described not by a single value, but rather by a Gaussian distribution having a mean and a standard deviation value. In this probabilistic model, the negative log-likelihood which is described in SI document is used as cost function instead of MAE or MSE. The weights and biases of the model are trained to predict the appropriate mean and standard deviation for each output feature by simply minimizing the negative-log-likelihood.

*3.3 Bayesian Neural Networks: Variational Inference and Monte-Carlo Dropout*

An approach to handling both aleatoric and epistemic uncertainties associated with neural networks, is to move away to associating fixed values to the weight and bias of each neuron, but rather describe them via a distribution. Effectively, this approach uses the knowledge of many networks instead a single neural network. The distribution of all weights and biases can be learned from the training data using Bayes’ theorem. However, solving these complex distributions is computational expensive. Two approaches have been tested to solve this problem: the variational inference and the Monte Carlo dropout methods.

In the variational inference method, the distributions of all weights and biases are approximated to gaussian distributions. Upon convergence, these gaussian distributions are as close as possible to complex distributions of all weights and biases. A metric to describe the difference between the two is called Kullback-Leibler divergence [40] which we use as the cost function to train this model as [41-42]. The exact definition can be found in the SI document.

Alternatively, the Monte Carlo dropout approach [43-44] approximates the complex distribution of weights and biases with a binary distribution. The idea is to train an ensemble of thin version of neural network that share weights and biases using dropout technique [37]. During the training process, dropout technique is applied by going through each of the layers of the neural network and randomly eliminating a number of output of nodes per layer [37]. So, every iteration, a thin version of network is used to train the model. At the end of this iterative process, we have trained many thin versions of neural network that can make predictions. By using dropout during test time, we can make predictions with a different thin version of neural network meaning we can use knowledge of many networks instead of one. We used negative-log-likelihood as the cost function to train this model.

**4. Implementation:**

We have implemented the non-Bayesian and two Bayesian models in TensorFlow. The architecture of models is described in the supplementary section, and the codes can be accessed on our GitHub page [45]. For the non-Bayesian model, the Adam optimization algorithm is used with initial learning rate of and further decreased according to

|  |  |  |
| --- | --- | --- |
|  |  | (7) |



where and are the current epoch and total number of epochs which is 10,000 in this case. For the Bayesian model approximated via variational inference technique, the Adam optimization algorithm is used with a constant , and the model is trained for 10,000 epochs. For the Bayesian model approximated by the Monte Carlo dropout method, the Adam optimization algorithm is used with a constant , and the model is trained for 25,000 epochs.We have evaluated the performance of our models by comparing the measured and predicted mean while considering the uncertainty contours.

**5. Results**

The architecture of all PDNNs is optimized over many iterations to ensure models have low bias and variance meaning the training and validation errors are as small as possible. Methods to reduce bias and variance of the model are described in SI document. To better analyze the performance of our models, the coefficient of determination and mean absolute percentage error (MAPE) between the measured and predicted mean output features are computed. In figure 5, we show the relation between the measured and predicted electron temperatures for all testing data. The scores are 0.962, 0.960 and 0.934 and MAPE are 1.58%, 1.50% and 1.73% for the non-Bayesian and Bayesian models approximated via variational inference (VI) and Monte Carlo dropout (MCD) techniques. Thescores for all three cases suggest a high level of fit. The models are generalizing well as they can examine more general input circumstances and don’t simply memorize the training samples.

The coefficients of determination for the six fitting parameters used to estimate the shape of the distribution function (*a, b, c, d, e, g*) are also computed as presented in table 2. *a, b* and *c* are used in the exponential function to generate segment one (in the 1-5 eV range), and *d, e* and *g* are utilized to create segment two (for energies larger than 5 eV). The scores of parameters fitting the tail of the distribution *(d, e, g*) are larger than (*a, b, c*) implying models did a better job at predicting the tail of the distribution than the 1-5 eV range segment of . Overall, high scores and small MAPE indicate all models are predicting with high accuracy.

**Figure 6.** Measured and predicted with 68% and 95% confidence intervals, predicted by a non-Bayesian (a) and Bayesian models approximated via variational inference (b) and Monte Carlo dropout (c) methods. The distributions are obtained using a test data that is similar to the data they were trained on.



**Figure 5.** The relation between the measured and predicted with non-Bayesian and Bayesian (Variational Inference & Monte Carlo Dropout) models for all the testing data.

|  |  |  |  |
| --- | --- | --- | --- |
|  | Model | | |
| R2 Score: | Non-Bayes | Bayes (MCD) | Bayes (VI) |
| a | 0.73 | 0.86 | 0.85 |
| b | 0.74 | 0.82 | 0.78 |
| c | 0.74 | 0.77 | 0.79 |
| d | 0.76 | 0.87 | 0.87 |
| e | 0.89 | 0.89 | 0.89 |
| g | 0.92 | 0.95 | 0.94 |
|  | 0.96 | 0.96 | 0.94 |

**Table 2.** The coefficient of determination between the predicted and measured fitting parameters for all testing data


Next, we compared the capability of the non-Bayesian and Bayesian models in capturing both the epistemic and aleatoric uncertainties. All non-Bayesian and Bayesian networks describe the uncertainty in their predictions. For the non-Bayesian neural network, the model parameters are fixed meaning it yields identical results for a given input, and the standard deviation of each output feature represents the aleatoric uncertainty in the predictions. Bayesian neural networks, approximated either by variational inference or by Monte Carlo dropout methods, have model parameters that are characterized by Gaussian and binary distributions. Therefore, the model prediction for an input is different every run since a different thin version of a network is used to make predictions each time. To obtain the empirical outcome distribution for the non-Bayesian and Bayesian models, we did run each model 500 times and sampled from the predicted gaussian distribution of each output feature. All the 500 results of each output feature are summarized by a mean, the 95% confidence and the 68% confidence interval. The corresponding are generated and the contours describing the uncertainty in the predicted are drawn for the non-Bayesian and Bayesian models. Using one sample of inputs drawn from the testing data, all models yield similar results as expected, as shown in figure 6. All models capture the aleatoric uncertainty. To test the ability of the model in capturing the epistemic uncertainty, we fed into the models an input which is dissimilar from the data they were trained on, i.e. with input values that are far from the average range of the training set. As shown in figure 7, the non-Bayesian approach assigned unrealistically narrow uncertainty contours to . However, the Bayesian models correctly assign larger uncertainty contours to .

**6. Conclusion:**

In this manuscript, we report for the first time the use of ML for the estimation of the electron energy distribution in a low pressure, low temperature non-thermal plasmas. We have completed 1400 Langmuir probe and OES measurements. We pre-processed, engineered, and used the data to train ML models. We have explored different model architectures for the development of the probabilistic deep learning networks. Non-Bayesian and Bayesian neural networks are evaluated to quantify and manipulate uncertainty in the predictions. We found that the best performing approach to predict electron energy distribution is using Bayesian models approximated via variational inference and Monte Carlo dropout methods as they can correctly capture both aleatoric and epistemic uncertainties. Further improvements in accuracy can be obtained by accumulating larger data set, thus reducing the epistemic uncertainty of the models. We envision and advocate for a more widespread utilization of these models, since they can provide reliable estimates of fundamental plasma parameters. One challenge associated with this approach is the need for large experimental data sets to train the neural network. As a consequence, ML models will likely find broader application, for instance, in industrial settings where large data sets are available. However, Bayesian deep neural networks can quantify the degree of uncertainty in the models and their predictions, so that academic research groups can still build probabilistic networks while accounting for aleatoric and epistemic uncertainty. Further reduction in the level of uncertainty can be achieved over extended period of time by expanding the datasets and by sharing of data among different research groups.

Acknowledgements

**Figure 7.** Predicted with 68% and 95% confidence intervals by non-Bayesian (a) and Bayesian models approximated via variational inference (b) and Monte Carlo dropout (c) methods, using a test data dissimilar from the data they were trained on.



This work was supported by the US Department of Energy, Office if Science, Early Career Research Program under Award No. DESC0014169.

ORCID iDs

Lorenzo Mangolini https://orcid.org/0000-0002-

0057-2450

References

1. Hatamizadeh A, Terzopoulos D, Myronenko A. End-to-end boundary aware networks for medical image segmentation. In: Machine Learning in Medical Imaging. Cham: Springer International Publishing; 2019. p. 187–94.
2. Levinson J, Askeland J, Becker J, Dolson J, Held D, Kammel S, et al. Towards fully autonomous driving: Systems and algorithms. In: 2011 IEEE Intelligent Vehicles Symposium (IV). IEEE; 2011. p. 163–8.
3. Esteva A, Kuprel B, Novoa RA, Ko J, Swetter SM, Blau HM, et al. Dermatologist-level classification of skin cancer with deep neural networks. Nature. 2017;542(7639):115–8.
4. Haenssle HA, Fink C, Schneiderbauer R, Toberer F, Buhl T, Blum A, et al. Man against machine: diagnostic performance of a deep learning convolutional neural network for dermoscopic melanoma recognition in comparison to 58 dermatologists. Ann Oncol. 2018;29(8):1836–42.
5. Kooi T, Litjens G, van Ginneken B, Gubern-Mérida A, Sánchez CI, Mann R, et al. Large scale deep learning for computer aided detection of mammographic lesions. Med Image Anal. 2017;35:303–12.
6. Jamaludin A, Kadir T, Zisserman A. SpineNet: Automatically pinpointing classification evidence in spinal MRIs. In: Medical Image Computing and Computer-Assisted Intervention – MICCAI 2016. Cham: Springer International Publishing; 2016. p. 166–75.
7. Barreira CM, Bouslama M, Haussen DC, Grossberg JA, Baxter B, Devlin T, et al. Abstract WP61: Automated large artery occlusion detection IN stroke imaging - ALADIN study. Stroke [Internet]. 2018;49(Suppl\_1). Available from: http://dx.doi.org/10.1161/str.49.suppl\_1.wp61
8. Esteva A, Robicquet A, Ramsundar B, Kuleshov V, DePristo M, Chou K, et al. A guide to deep learning in healthcare. Nat Med. 2019;25(1):24–9.
9. Ren S, He K, Girshick R, Sun J. Faster R-CNN: Towards real-time object detection with region proposal networks [Internet]. arXiv [cs.CV]. 2015. Available from: <http://arxiv.org/abs/1506.01497>
10. He K, Zhang X, Ren S, Sun J. Deep residual learning for image recognition. In: 2016 IEEE Conference on Computer Vision and Pattern Recognition (CVPR). IEEE; 2016. p. 770–8.
11. Noh H, Hong S, Han B. Learning deconvolution network for semantic segmentation [Internet]. arXiv [cs.CV]. 2015 [cited 2021 Feb 15]. p. 1520–8. Available from: https://openaccess.thecvf.com/content\_iccv\_2015/html/Noh\_Learning\_Deconvolution\_Network\_ICCV\_2015\_paper.html
12. Krizhevsky A, Sutskever I, Hinton GE. ImageNet classification with deep convolutional neural networks. Commun ACM. 2017;60(6):84–90.
13. He K, Zhang X, Ren S, Sun J. Delving deep into rectifiers: Surpassing human-level performance on ImageNet classification [Internet]. arXiv [cs.CV]. 2015 [cited 2021 Feb 15]. p. 1026–34. Available from: https://openaccess.thecvf.com/content\_iccv\_2015/html/He\_Delving\_Deep\_into\_ICCV\_2015\_paper.html
14. Fridman L, Brown DE, Glazer M, Angell W, Dodd S, Jenik B, et al. MIT advanced vehicle technology study: Large-scale naturalistic driving study of driver behavior and interaction with automation. IEEE Access. 2019;7:102021–38.
15. Ferreira DR, Carvalho PJ, Fernandes H. Deep learning for plasma tomography and disruption prediction from bolometer data. IEEE Trans Plasma Sci IEEE Nucl Plasma Sci Soc. 2020;48(1):36–45.
16. Mesbah A, Graves DB. Machine learning for modeling, diagnostics, and control of non-equilibrium plasmas. J Phys D Appl Phys. 2019;52(30):30LT02.
17. Choudhury TA, Hosseinzadeh N, Berndt CC. Artificial Neural Network application for predicting in-flight particle characteristics of an atmospheric plasma spray process. Surf Coat Technol. 2011;205(21–22):4886–95.
18. Woodard A, Shojaei K, Nava G, Mangolini L. Langmuir probe characterisation of an Ar–H2 non-thermal plasma loaded with carbon nanoparticles. Plasma Sources Sci Technol. 2018;27(10):104003.
19. Woodard A, Shojaei K, Berrospe-Rodriguez C, Nava G, Mangolini L. Electron emission from particles strongly affects the electron energy distribution in dusty plasmas. J Vac Sci Technol A. 2020;38(2):023005.
20. Maresca A, Orlov K, Kortshagen U. Experimental study of diffusive cooling of electrons in a pulsed inductively coupled plasma. Phys Rev E Stat Nonlin Soft Matter Phys. 2002;65(5 Pt 2):056405.
21. Godyak VA, Piejak RB, Alexandrovich BM. Electron energy distribution function measurements and plasma parameters in inductively coupled argon plasma. Plasma Sources Sci Technol. 2002;11(4):525–43.
22. Godyak VA, Piejak RB, Alexandrovich BM. Evolution of the electron-energy-distribution function during rf discharge transition to the high-voltage mode. Phys Rev Lett. 1992;68(1):40–3.
23. Zhu X-M, Pu Y-K. A simple collisional–radiative model for low-pressure argon discharges. J Phys D Appl Phys. 2007;40(8):2533–8.
24. Thorne A, Litzen U, Johansson S. Spectrophysics: Principles and Applications. Berlin, Germany: Springer; 1999.
25. Fujimoto T. Plasma Spectroscopy. Oxford, England: Clarendon Press; 2004.
26. Fantz U. Emission spectroscopy of molecular low pressure plasmas. Contrib plasma phys. 2004;44(56):508–15.
27. Fantz U. Molecular Diagnostics of Fusion and Laboratory Plasmas. In: AIP Conference Proceedings. AIP; 2005.
28. Behringer K, Fantz U. Spectroscopic diagnostics of glow discharge plasmas with non-Maxwellian electron energy distributions. J Phys D Appl Phys. 1994;27(10):2128–35.
29. Vinogradov IP. Development and applications of spectroscopic determinations of the electron distribution function in discharges. Plasma Sources Sci Technol. 1999;8(2):299–312.
30. Fantz U. Basics of plasma spectroscopy. Plasma Sources Sci Technol. 2006;15(4):S137–47.
31. Hagelaar GJM, Pitchford LC. Solving the Boltzmann equation to obtain electron transport coefficients and rate coefficients for fluid models. Plasma Sources Sci Technol. 2005;14(4):722–33.
32. Capitelli M, Celiberto R, Colonna G, Esposito F, Gorse C, Hassouni K, et al. Kinetic and Monte Carlo approaches to solve Boltzmann equation for the electron energy distribution functions. In: Fundamental Aspects of Plasma Chemical Physics. New York, NY: Springer New York; 2016. p. 79–111.
33. Ruder S. An overview of gradient descent optimization algorithms∗ [Internet]. Arxiv.org. [cited 2021 Feb 15]. Available from: http://arxiv.org/abs/1609.04747v2
34. Kingma DP, Ba J. Adam: A method for stochastic optimization [Internet]. arXiv [cs.LG]. 2014. Available from: http://arxiv.org/abs/1412.6980
35. Druyvesteyn MJ. Der Niedervoltbogen. Eur Phys J A. 1930;64(11–12):781–98.
36. Ruder S. An overview of gradient descent optimization algorithms [Internet]. arXiv [cs.LG]. 2016. Available from: http://arxiv.org/abs/1609.04747
37. Schmidhuber J. Deep learning in neural networks: an overview. Neural Netw. 2015;61:85–117.
38. Abadi M, Barham P, Chen J, Chen Z, Davis A, Dean J, et al. TensorFlow: A system for large-scale machine learning. In: 12th {USENIX} Symposium on Operating Systems Design and Implementation ({OSDI} 16). 2016. p. 265–83.
39. Bengio Y, Le Cun Presenter: Marilyn Vazquez Y. Scaling learning algorithms towards AI [Internet]. Semanticscholar.org. [cited 2021 Feb 15]. Available from: https://pdfs.semanticscholar.org/f01e/080777b59d6978e412ded8995edabbaa62f0.pdf
40. Dürr O, Sick B, Murina E. Probabilistic deep learning: With Python, Keras, and TensorFlow Probability. 2020.
41. Blundell C, Cornebise J, Kavukcuoglu K, Wierstra D. Weight uncertainty in neural networks [Internet]. arXiv [stat.ML]. 2015. Available from: http://arxiv.org/abs/1505.05424
42. Wen Y, Vicol P, Ba J, Tran D, Grosse R. Flipout: Efficient pseudo-independent weight perturbations on mini-batches [Internet]. arXiv [cs.LG]. 2018. Available from: http://arxiv.org/abs/1803.04386
43. Gal Y, Ghahramani Z. Dropout as a Bayesian Approximation: Appendix [Internet]. arXiv [stat.ML]. 2015. Available from: http://arxiv.org/abs/1506.02157
44. Ghahramani Z. Probabilistic machine learning and artificial intelligence. Nature. 2015;521(7553):452–9.
45. see: https://github.com/kshojaei/MachineLearning-Plasma.git